## data sources
criteria | data source | resolution | comment
landcover (code) | ESA_WORLDCOVER_10M_2021_V2 | 10m
elevation | GEBCO | 15 arcsec (463m @equator) | actual DTM
slope | calculated based on GEBCO | 15 arcsec (463m @equator)
population | Worldpop (year) | 100m
residential areas | WSF 2019 | 10m
railways | OSM | -
roads | OSM | -
airports | OSM | -
waterbodies | OSM | -
military | OSM | -
coastlines | GOAS | -
protected areas | WDPA | -
transmission lines | OSM | -
distribution lines | - | - | not used
substations | OSM | -
exising generators | OSM | -
existing power plants | OSM | -
solar prodcution | GSA | 30 arcsec (~1 km) | PVOUT (kWh/kW/a)
wind speed | GWA | 250m | wind speed @100m
…

## onshorewind
| exclude |  | Legend
criteria | scenario 1 | scenario 2 | - | don’t exclude
Tree (10) | 0m |  | 0m | exclude, but no buffer
Shrubland (20) | -
Grassland (30) | -
Cropland (40) | 0m
Built-up (50) | <100m
Bare / sparse vegetation (60) | -
Snow and ice (70) | 0m
Permanent waterbodies (80) | 0m
Herbaceous wetland (90) | 0m
Mangroves (95) | 0m
Moss and lichen (100) | 0m
elevation | >2000m
slope | >15°
population | >3
residential areas | <300m
railways | <100m
roads | <100m
airports | <5000m
waterbodies | <100m
military | <100m
coastlines | <500m
protected areas | 0m
transmission lines | <100m & >50000m
substations | -
exising generators | -
existing power plants | -
solar prodcution | -
wind speed | <4.5 m/s @100m
pixels connected (filter) | <100

## solar PV ground
| exclude |  | Legend
criteria | scenario 1 | scenario 2 | - | don’t exclude
Tree (10) | 0m |  | 0m | exclude, but no buffer
Shrubland (20) | -
Grassland (30) | -
Cropland (40) | 0m
Built-up (50) | <100m
Bare / sparse vegetation (60) | -
Snow and ice (70) | 0m
Permanent waterbodies (80) | 0m
Herbaceous wetland (90) | 0m
Mangroves (95) | 0m
Moss and lichen (100) | 0m
elevation | >2000m
slope | >15°
population | >3
residential areas | <500m
railways | <100m
roads | <100m
airports | <3000m
waterbodies | <100m
military | <100m
coastlines | <500m
protected areas | 0m
transmission lines | <100m & >10000m
substations | -
exising generators | -
existing power plants | -
solar prodcution | <1000 kWh/kW/year
wind speed | -
pixels connected (filter) | <100